## Assumptions
Swanbank Sovereign DC - Financial Model
Stage-1 case (30 MW). Yellow cells are editable inputs; all other tabs reference them. Modelled estimate, pre-NDA.
Capacity & build
IT load (MW) | 30 | MW | Stage-1 hall
Rack density (kW/rack) | 150 | kW | Helios rack-scale
GPU power (W) | 2070 | W | MI455X / Helios, facility-level
PUE (facility overhead) | 1.25 | x | Closed-loop direct liquid - efficient
GPUs per rack |  | #
Total racks |  | #
Total GPUs |  | #
Revenue
Rental price ($/GPU-hr) | 2.35 | $ | H100-class 1-yr basis held; MI455X $/hr pre-NDA
Utilisation (%) | 85% | % | Blended sold capacity
Revenue hours / yr | 8760 | hr
Operating cost
Energy price ($/MWh) | 65 | $ | AEMO QLD Q1 2026 benchmark, dedicated 275 kV grid
Powerlink C&A ($/yr) | 2500000 | $ | Connection & access, N-1
Land lease ($/yr) | 1500000 | $ | 99 ha - PLACEHOLDER, awaiting rate
Staff & ops ($/yr) | 15000000 | $ | SRE, security, maintenance at 30 MW
Bandwidth & misc ($/yr) | 2250000 | $
Capital
GPU capex ($/GPU) | 28000 | $ | H100-class basis held; MI455X capex pre-NDA
Fit-out $/kW (power+cooling+civil) | 9000 | $ | Direct-liquid hall, $/IT-kW
Depreciation life (yrs) | 4 | yr | GPU economic life

## P&L
Annual P&L - Stage-1 (30 MW, steady-state, Yr 1 stabilised)
All cells reference Assumptions. Edit inputs there; this recalculates. Modelled estimate, pre-NDA.
Line | Annual ($) | Note
Installed GPUs |  | count
REVENUE
Gross rental revenue |  | GPUs x $/hr x util x hrs
OPERATING COST
Energy |  | MW x PUE x $/MWh x hrs
Powerlink C&A
Land lease |  | placeholder
Staff & ops
Bandwidth & misc
Total opex
EBITDA |  | Revenue - opex
EBITDA margin
CAPITAL
GPU capex |  | one-time
Fit-out capex |  | one-time
Total capex
RETURNS
Simple payback (yrs) |  | capex / EBITDA
Pre-tax ROI (Yr1 EBITDA / capex)
Annual depreciation |  | straight-line
Approx. pre-tax profit (post-dep) |  | EBITDA - dep

## Build-out
Build-out staircase - revenue scales with IT MW
Holds per-MW economics from Stage-1; scales load. Fixed opex scaled per-MW (conservative). Directional.
Stage | IT MW | GPUs | Gross revenue $/yr | EBITDA $/yr | Total capex $
Stage-1 | 30
Build-out | 100
Expansion | 300
Program | 800
Note: fixed opex scaled linearly per-MW here for simplicity - real build-out enjoys operating leverage (Powerlink C&A + land largely fixed), so larger stages have structurally higher margins than shown.

## Sensitivity
Sensitivity - EBITDA vs rental price x utilisation (Stage-1, 30 MW)
Rows = $/GPU-hr, Cols = utilisation. Recomputes Stage-1 EBITDA from Assumptions.
$/GPU-hr \ util | 65% | 75% | 85% | 95%
1.8
2.1
2.35
2.8
3.3
Green = base case (~$2.35/hr held at H100 basis, 85% util). Each cell is annual Stage-1 EBITDA before capex/depreciation. MI455X $/GPU-hr pre-NDA.

## Use of Funds
Use of funds - what the Stage-1 raise buys
Stage-1 ~30 MW. Capex lines reference Assumptions; working capital + contingency are raise-sizing inputs. Modelled estimate.
Use | Amount ($) | % of raise | Basis
GPU hardware |  |  | MI455X / Helios rack-scale systems, networking, storage
Power + cooling fit-out |  |  | 275kV->33kV->LV, rectifiers, direct-liquid loop, civil
Grid connection (yr-1 C&A) |  |  | Powerlink Connection & Access, first year
Working capital (6 mo opex) |  |  | Runway to revenue stabilisation
Team + setup (pre-revenue) | 1500000 |  | Core ops hires, legal, entity, insurance
Subtotal
Contingency (10%) |  |  | Buffer on capex + setup
TOTAL RAISE (Stage-1) |  |  | All-equity worst case
Note: GPUs are ~53% of the raise - a financeable, resaleable asset (not sunk). Vendor-financing / GPU-lease can materially cut the equity cheque; this sheet shows the all-equity worst case.

## README
How to use this model
Stage-1 (30 MW) sovereign-compute deployment at Swanbank. Modelled estimate, pre-NDA.
1. Edit only the yellow cells on the Assumptions tab. Every other tab references them.
2. P&L = stabilised Year-1 Stage-1 (~30 MW). Build-out scales the same per-MW economics.
3. Silicon: ~200 AMD Instinct MI455X Helios rack-scale systems, ~14,500 GPUs, direct-to-chip liquid cooling.
4. Power: dedicated 275 kV grid connection at CleanCo's Swanbank Energy Precinct; operational Q1 2028.
5. Revenue ($2.35/GPU-hr) held at the 2026 H100-class 1-yr contract basis. MI455X is a higher-performance
generation - real $/GPU-hr AND $/GPU capex move with vendor quotes (pre-NDA); held flat here as a basis.
6. Land lease ($1.5m/yr) is a PLACEHOLDER pending the real $/ha/yr rate - flagged on Assumptions.
7. Energy ($65/MWh) = AEMO QLD Q1 2026 wholesale benchmark via the dedicated 275 kV connection.
8. Switch demand-aggregation upside (wholesale-vs-retail spread on routed frontier-lab traffic) is NOT
modelled here - it is incremental margin on top of the owned-substrate P&L.
9. Excludes: financing structure, tax, GST, ramp curve, take-or-pay. Directional only; not investment advice.